## Measurements_Results
Data from measurement - set 4 (9.8.2013) |  |  |  | AVG 30 min - set 4 - 10:15-10:45
at the end of calibration measurement
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34
| Face | Head | R Up Arm Fr | R Up Arm Bk | L Up Arm Fr | L Up Arm Bk | R Forearm Fr | R Forearm Bk | L Forearm Fr | L Forearm Bk | R Hand | L Hand | Upper Chest | Shoulders | Stomach | Mid Back | Waist | Lower Back | R Up Thigh Fr | R Up Thigh Grd | R Up Thigh Bk | L Up Thigh Fr | L Up Thigh Grd | L Up Thigh Bk | R Lwr Thigh Fr | R Lwr Thigh Bk | L Lwr Thigh Fr | L Lwr Thigh Bk | R Calf Fr | R Calf Bk | L Calf Fr | L Calf Bk | R Foot | L Foot
surface [m2] | 0.0436 | 0.0939 | 0.0519 | 0.0317 | 0.0519 | 0.0317 | 0.0384 | 0.0264 | 0.0384 | 0.0264 | 0.0461 | 0.0461 | 0.092 | 0.0793 | 0.1019 | 0.0634 | 0.0468 | 0.0503 | 0.0487 | 0.0309 | 0.0274 | 0.0487 | 0.0309 | 0.0274 | 0.1032 | 0.0488 | 0.1032 | 0.0488 | 0.0823 | 0.0528 | 0.0823 | 0.0528 | 0.0596 | 0.0596
AVG heat flux [W/m2] | 91.3917 | 48.7646 | 31.2746 | 34.8934 | 30.332 | 32.2785 | 41.005 | 45.3188 | 43.6011 | 47.6448 | 80.7398 | 82.9878 | 34.1331 | 33.7293 | 20.3735 | 25.2337 | 18.3017 | 28.3094 | 0 | 36.416 | 47.1006 | 0 | 37.116 | 55.5017 | 42.9746 | 44.2619 | 45.2851 | 48.821 | 49.2227 | 34.9044 | 49.9845 | 39.432 | 48.847 | 49.4459
Tempreture of element | 34.0006 | 34.0008 | 34.0013 | 34.0008 | 34.0017 | 34.001 | 34.0004 | 33.9999 | 33.9999 | 34.0004 | 33.9998 | 34.0003 | 34.0011 | 34.0015 | 34.0015 | 34.0009 | 34.0018 | 34.0015 | 33.1962 | 34.0023 | 34.002 | 33.3994 | 34.0022 | 34.0024 | 34.0007 | 34.0002 | 34.0007 | 34.0008 | 34.0007 | 33.9998 | 34.0001 | 34.0007 | 34.0006 | 34.0012 | 34
Ambient temp 10 [C] | 24.3873
Ambient temp 60 [C]
Ambient temp 110 [C] | 24.6752 | avg | 24.5313 | C
Manikin segment/B.c. |  | Heat flux | Surface | RCTcal | hcal
|  | [W/m2K] | [m2] | [m2K/W] | [W/m2K]
Manikin_Arm_lower_L |  | 45.2485 | 0.0648 | 0.20926 | 4.7787
Manikin_Arm_lower_R |  | 42.7625 | 0.0648 | 0.22143 | 4.5162
Manikin_Arm_upper_L |  | 31.0701 | 0.0836 | 0.30475 | 3.2813
Manikin_Arm_upper_R |  | 32.6468 | 0.0836 | 0.29003 | 3.4479
Manikin_Back_lower |  | 23.4859 | 0.0971 | 0.40317 | 2.4804
Manikin_Back_upper |  | 29.9548 | 0.1427 | 0.3161 | 3.1636
Manikin_Calf_L |  | 45.8604 | 0.1351 | 0.20647 | 4.8434
Manikin_Calf_R |  | 43.6268 | 0.1351 | 0.21704 | 4.6075
Manikin_Chest |  | 26.902 | 0.1939 | 0.35197 | 2.8412
Manikin_Face |  | 91.3917 | 0.0436 | 0.10361 | 9.652
Manikin_Foot_L |  | 49.4459 | 0.0596 | 0.1915 | 5.222
Manikin_Foot_R |  | 48.847 | 0.0596 | 0.19384 | 5.1588
Manikin_Hand_L |  | 82.9878 | 0.0461 | 0.1141 | 8.7644
Manikin_Hand_R |  | 80.7398 | 0.0461 | 0.11727 | 8.527
Manikin_Scalp |  | 48.7646 | 0.0939 | 0.19417 | 5.1501
Manikin_Thigh_L |  | 46.4203 | 0.152 | 0.20398 | 4.9025
Manikin_Thigh_R |  | 43.3879 | 0.152 | 0.21823 | 4.5822
Seat |  | 43.5973 | 0.1166 | 0.21719 | 4.6044
1.7702
Data from measurement - 2
| Face | Head | R Up Arm Fr | R Up Arm Bk | L Up Arm Fr | L Up Arm Bk | R Forearm Fr | R Forearm Bk | L Forearm Fr | L Forearm Bk | R Hand | L Hand | Upper Chest | Shoulders | Stomach | Mid Back | Waist | Lower Back | R Up Thigh Fr | R Up Thigh Grd | R Up Thigh Bk | L Up Thigh Fr | L Up Thigh Grd | L Up Thigh Bk | R Lwr Thigh Fr | R Lwr Thigh Bk | L Lwr Thigh Fr | L Lwr Thigh Bk | R Calf Fr | R Calf Bk | L Calf Fr | L Calf Bk | R Foot | L Foot
surface [m2] | 0.0436 | 0.0939 | 0.0519 | 0.0317 | 0.0519 | 0.0317 | 0.0384 | 0.0264 | 0.0384 | 0.0264 | 0.0461 | 0.0461 | 0.092 | 0.0793 | 0.1019 | 0.0634 | 0.0468 | 0.0503 | 0.0487 | 0.0309 | 0.0274 | 0.0487 | 0.0309 | 0.0274 | 0.1032 | 0.0488 | 0.1032 | 0.0488 | 0.0823 | 0.0528 | 0.0823 | 0.0528 | 0.0596 | 0.0596
AVG heat flux [W/m2]
Tempreture of element | 33.9987 | 34.0016 | 34.0008 | 34.0008 | 34.0011 | 34.001 | 33.9992 | 34.001 | 34.0005 | 34.0003 | 34.0005 | 33.9969 | 34.0007 | 34.0003 | 33.9992 | 34.0002 | 34.0007 | 34.0005 | 32.2192 | 34.0011 | 33.9993 | 32.9295 | 34.001 | 34.0008 | 33.9997 | 33.9992 | 33.999 | 33.9987 | 34.0007 | 33.9993 | 33.9992 | 33.9977 | 33.9997 | 33.9998 | 34
15.9895
Manikin segment/B.c. |  | Heat flux | Surface
|  | [W/m2K] | [m2]
Manikin_Arm_lower_L |  | 0 | 0.0648
Manikin_Arm_lower_R |  | 0 | 0.0648
Manikin_Arm_upper_L |  | 0 | 0.0836
Manikin_Arm_upper_R |  | 0 | 0.0836
Manikin_Back_lower |  | 0 | 0.0971
Manikin_Back_upper |  | 0 | 0.1427
Manikin_Calf_L |  | 0 | 0.1351
Manikin_Calf_R |  | 0 | 0.1351
Manikin_Chest |  | 0 | 0.1939
Manikin_Face |  | 0 | 0.0436
Manikin_Foot_L |  | 0 | 0.0596
Manikin_Foot_R |  | 0 | 0.0596
Manikin_Hand_L |  | 0 | 0.0461
Manikin_Hand_R |  | 0 | 0.0461
Manikin_Scalp |  | 0 | 0.0939
Manikin_Thigh_L |  | 0 | 0.152
Manikin_Thigh_R |  | 0 | 0.152
Seat |  | 0 | 0.1166
1.7702
Data from measurement - 3
| Face | Head | R Up Arm Fr | R Up Arm Bk | L Up Arm Fr | L Up Arm Bk | R Forearm Fr | R Forearm Bk | L Forearm Fr | L Forearm Bk | R Hand | L Hand | Upper Chest | Shoulders | Stomach | Mid Back | Waist | Lower Back | R Up Thigh Fr | R Up Thigh Grd | R Up Thigh Bk | L Up Thigh Fr | L Up Thigh Grd | L Up Thigh Bk | R Lwr Thigh Fr | R Lwr Thigh Bk | L Lwr Thigh Fr | L Lwr Thigh Bk | R Calf Fr | R Calf Bk | L Calf Fr | L Calf Bk | R Foot | L Foot
surface [m2] | 0.0436 | 0.0939 | 0.0519 | 0.0317 | 0.0519 | 0.0317 | 0.0384 | 0.0264 | 0.0384 | 0.0264 | 0.0461 | 0.0461 | 0.092 | 0.0793 | 0.1019 | 0.0634 | 0.0468 | 0.0503 | 0.0487 | 0.0309 | 0.0274 | 0.0487 | 0.0309 | 0.0274 | 0.1032 | 0.0488 | 0.1032 | 0.0488 | 0.0823 | 0.0528 | 0.0823 | 0.0528 | 0.0596 | 0.0596
AVG heat flux [W/m2]
Tempreture of element | 34.0008 | 33.9987 | 33.9995 | 34 | 34.0007 | 34.0005 | 34.0002 | 34.0016 | 34.0007 | 34.0005 | 34.0025 | 34.0033 | 34 | 33.9993 | 34.0005 | 33.9995 | 34.0003 | 34.0007 | 32.5344 | 33.9995 | 34.0013 | 33.2084 | 34.0005 | 34.0011 | 33.9998 | 34.0015 | 34.0011 | 34.0007 | 34.0003 | 34.0031 | 34.0013 | 34.0005 | 33.9992 | 33.9992
16.5472
Manikin segment/B.c. |  | Heat flux | Surface
|  | [W/m2K] | [m2]
Manikin_Arm_lower_L |  | 0 | 0.0648
Manikin_Arm_lower_R |  | 0 | 0.0648
Manikin_Arm_upper_L |  | 0 | 0.0836
Manikin_Arm_upper_R |  | 0 | 0.0836
Manikin_Back_lower |  | 0 | 0.0971
Manikin_Back_upper |  | 0 | 0.1427
Manikin_Calf_L |  | 0 | 0.1351
Manikin_Calf_R |  | 0 | 0.1351
Manikin_Chest |  | 0 | 0.1939
Manikin_Face |  | 0 | 0.0436
Manikin_Foot_L |  | 0 | 0.0596
Manikin_Foot_R |  | 0 | 0.0596
Manikin_Hand_L |  | 0 | 0.0461
Manikin_Hand_R |  | 0 | 0.0461
Manikin_Scalp |  | 0 | 0.0939
Manikin_Thigh_L |  | 0 | 0.152
Manikin_Thigh_R |  | 0 | 0.152
Seat |  | 0 | 0.1166
1.7702
Data from measurement - 4
| Face | Head | R Up Arm Fr | R Up Arm Bk | L Up Arm Fr | L Up Arm Bk | R Forearm Fr | R Forearm Bk | L Forearm Fr | L Forearm Bk | R Hand | L Hand | Upper Chest | Shoulders | Stomach | Mid Back | Waist | Lower Back | R Up Thigh Fr | R Up Thigh Grd | R Up Thigh Bk | L Up Thigh Fr | L Up Thigh Grd | L Up Thigh Bk | R Lwr Thigh Fr | R Lwr Thigh Bk | L Lwr Thigh Fr | L Lwr Thigh Bk | R Calf Fr | R Calf Bk | L Calf Fr | L Calf Bk | R Foot | L Foot
surface [m2] | 0.0436 | 0.0939 | 0.0519 | 0.0317 | 0.0519 | 0.0317 | 0.0384 | 0.0264 | 0.0384 | 0.0264 | 0.0461 | 0.0461 | 0.092 | 0.0793 | 0.1019 | 0.0634 | 0.0468 | 0.0503 | 0.0487 | 0.0309 | 0.0274 | 0.0487 | 0.0309 | 0.0274 | 0.1032 | 0.0488 | 0.1032 | 0.0488 | 0.0823 | 0.0528 | 0.0823 | 0.0528 | 0.0596 | 0.0596
AVG heat flux [W/m2]
Tempreture of element | 34.0002 | 34.0003 | 34.0005 | 34.0003 | 33.9993 | 34.0002 | 34.0016 | 34.003 | 33.9997 | 33.9995 | 34.0015 | 34.0043 | 34.0005 | 33.9992 | 33.9998 | 33.9992 | 34.0003 | 34 | 32.6559 | 33.9997 | 33.9998 | 33.3434 | 33.9998 | 33.9995 | 34.0003 | 33.9992 | 33.9998 | 33.9992 | 34.0011 | 34.0002 | 34.0021 | 34.001 | 33.9998 | 34.0011
16.5472
Manikin segment/B.c. |  | Heat flux | Surface
|  | [W/m2K] | [m2]
Manikin_Arm_lower_L |  | 0 | 0.0648
Manikin_Arm_lower_R |  | 0 | 0.0648
Manikin_Arm_upper_L |  | 0 | 0.0836
Manikin_Arm_upper_R |  | 0 | 0.0836
Manikin_Back_lower |  | 0 | 0.0971
Manikin_Back_upper |  | 0 | 0.1427
Manikin_Calf_L |  | 0 | 0.1351
Manikin_Calf_R |  | 0 | 0.1351
Manikin_Chest |  | 0 | 0.1939
Manikin_Face |  | 0 | 0.0436
Manikin_Foot_L |  | 0 | 0.0596
Manikin_Foot_R |  | 0 | 0.0596
Manikin_Hand_L |  | 0 | 0.0461
Manikin_Hand_R |  | 0 | 0.0461
Manikin_Scalp |  | 0 | 0.0939
Manikin_Thigh_L |  | 0 | 0.152
Manikin_Thigh_R |  | 0 | 0.152
Seat |  | 0 | 0.1166
1.7702

## Comfort zones diagram
Comfort zones - Newton |  |  | AVG 30 min - set 4 - 10:15-10:45
at the end of calibration measurement
Summer | [5 empty] | Nilsson
Zone | Ts | surface | q | hcal | Teq | [W/m2K]
Wholebody | 34 | 1.6536 | 42.6412 | 4.5034 | 24.5313
Scalp | 34 | 0.0939 | 48.7646 | 5.1501 | 24.5313 | 3.49
Face | 34 | 0.0436 | 91.3917 | 9.652 | 24.5313 | 8.25
Chest | 34 | 0.1939 | 26.902 | 2.8412 | 24.5313 | 3.89
Back upper | 34 | 0.1427 | 29.9548 | 3.1636 | 24.5313 | 5.79
Back lower | 34 | 0.0971 | 23.4859 | 2.4804 | 24.5313 | 3.11
Arm_up_L | 34 | 0.0836 | 31.0701 | 3.2813 | 24.5313 | 4.26
Arm_up_R | 34 | 0.0836 | 32.6468 | 3.4479 | 24.5313 | 4.69
Arm_lower_L | 34 | 0.0648 | 45.2485 | 4.7787 | 24.5313 | 5.22
Arm_lower_R | 34 | 0.0648 | 42.7625 | 4.5162 | 24.5313 | 5.13
Hand L | 34 | 0.0461 | 82.9878 | 8.7644 | 24.5313 | 8.6
Hand R | 34 | 0.0461 | 80.7398 | 8.527 | 24.5313 | 8.49
Thigh L | 34 | 0.152 | 46.4203 | 4.9025 | 24.5313 | 4.96
Thigh R | 34 | 0.152 | 43.3879 | 4.5822 | 24.5313 | 4.82
Calf L | 34 | 0.1351 | 45.8604 | 4.8434 | 24.5313 | 5.11
Calf R | 34 | 0.1351 | 43.6268 | 4.6075 | 24.5313 | 4.83
Foot L | 34 | 0.0596 | 49.4459 | 5.222 | 24.5313 | 3.63
Foot R | 34 | 0.0596 | 48.847 | 5.1588 | 24.5313 | 3.82
Seat | 34 | 0.1166 | 43.5973 | 4.6044 | 24.5313 | 4.59
Note on D6: Autor: Seat is not included in Wholebody surface and averages of q and hcal
Note on B24: Autor: Seat is not included in Wholebody surface and averages of q and hcal
Note on B50: Autor: Seat is not included in Wholebody surface and averages of q and hcal
Note on B75: Autor: Seat is not included in Wholebody surface and averages of q and hcal
Note on B99: Autor: Seat is not included in Wholebody surface and averages of q and hcal

## Calibration_data
hcal - heat transfer coefficients for teq equation
Data from first test calibration - 14.3.2013 - the calibration temperature was 22,9 °C only = calibration was not successful
Measurement | results from calibration with Newton - calibration climate chamber VUT - measurement- 9.8.2013 |  |  |  | Simulation: | results from calibration with Newton - calibration box D - first test measurement- 14.3.2013
File: | 02_kalibrace_manekýna_klimakomora_VUT_9-08-2013_data_mine-wintercloth.xlsx |  |  |  | File: | 03_kalibrace_manekýna_box_D5_14-03-2013_data_mine.xlsx
| Measurement |  | Averaged values for doubled parts |  |  | Seated_calibration_final_results.xlsx
Manikin segment/B.c. | hcal | RCT | hcal | RCT | Manikin segment/B.c. | hcal | RCT
| [W/m2K] | [m2K/W] | [W/m2K] | [m2K/W] |  | [W/m2K] | [m2K/W]
Manikin_Arm_lower_L | 4.7787 | 0.20926 | 4.6475 | 0.21517 | Manikin_Arm_lower_L | 4.6793 | 0.21371
Manikin_Arm_lower_R | 4.5162 | 0.22143 |  |  | Manikin_Arm_lower_R | 4.7062 | 0.21248
Manikin_Arm_upper_L | 3.2813 | 0.30475 | 3.3646 | 0.29721 | Manikin_Arm_upper_L | 3.4121 | 0.29307
Manikin_Arm_upper_R | 3.4479 | 0.29003 |  |  | Manikin_Arm_upper_R | 3.3403 | 0.29938
Manikin_Back_lower | 2.4804 | 0.40317 | 2.4804 | 0.40317 | Manikin_Back_lower | 2.3446 | 0.42652
Manikin_Back_upper | 3.1636 | 0.3161 | 3.1636 | 0.3161 | Manikin_Back_upper | 2.5768 | 0.38808
Manikin_Calf_L | 4.8434 | 0.20647 | 4.7254 | 0.21162 | Manikin_Calf_L | 5.4787 | 0.18253
Manikin_Calf_R | 4.6075 | 0.21704 |  |  | Manikin_Calf_R | 5.3212 | 0.18793
Manikin_Chest | 2.8412 | 0.35197 | 2.8412 | 0.35197 | Manikin_Chest | 3.39 | 0.29499
Manikin_Face | 9.652 | 0.10361 | 9.652 | 0.10361 | Manikin_Face | 9.1954 | 0.10875
Manikin_Foot_L | 5.222 | 0.1915 | 5.1904 | 0.19266 | Manikin_Foot_L | 5.6425 | 0.17723
Manikin_Foot_R | 5.1588 | 0.19384 |  |  | Manikin_Foot_R | 5.6992 | 0.17546
Manikin_Hand_L | 8.7644 | 0.1141 | 8.6457 | 0.11566 | Manikin_Hand_L | 8.9425 | 0.11183
Manikin_Hand_R | 8.527 | 0.11727 |  |  | Manikin_Hand_R | 8.5548 | 0.11689
Manikin_Scalp | 5.1501 | 0.19417 | 5.1501 | 0.19417 | Manikin_Scalp | 4.6808 | 0.21364
Manikin_Thigh_L | 4.9025 | 0.20398 | 4.7424 | 0.21087 | Manikin_Thigh_L | 4.4909 | 0.22267
Manikin_Thigh_R | 4.5822 | 0.21823 |  |  | Manikin_Thigh_R | 4.2381 | 0.23595
Seat | 4.6044 | 0.21719 | 4.6044 | 0.21719 |  | -------------
[6 empty] | Total: | -43.8011

## Diagram data Rcl
[18 empty] | Reference | http://hem.passagen.se/nilssons/mer_man_csp.htm
| Comfort zones diagram - PLOT | [5 empty] | Comfort zones for clothing |  | 1.5789 | clo |  |  | Netwon surface temp | [5 empty] | http://homes.civil.aau.dk/pvn/cfd-benchmarks/cps_literature_comfort/Roomvent%202007/Nilsson_OH_Brohus_H_Nielsen_PV_2007b.pdf
| Zone | too cold | cold comfort | neutral | warm comfort | too warm | MTV | <-1.5 | <-0.5 | -0.5...0.5 | >0.5 | >1.5 | 34 | °C |  |  |  |  | http://vbn.aau.dk/files/10729915/CFD_modeling_of_thermal_manikin_heat_loss_in_a_comfort_evaluation_benchmark_test
| Wholebody | 18.398 | 3.255 | 3.255 | 3.255 |  |  | -1.5 | -0.5 | 0 | 0.5 | 1.5 | Clothing | Newton | Nilsson regression coef. |  |  | Clothing | Remark: validated for RT=0.9-1.9 clo, i.e. Rcl 0-1 clo
| Scalp | 11.4082 | 6.5824 | 6.5824 | 6.5824 |  | Zone | too cold | cold comfort | neutral | warm comfort | too warm | RT[m2KW] | Area[m2] | a | b | Zone | RT[clo]
| Face | 21.9455 | 3.5122 | 3.5122 | 3.5122 |  | Wholebody | 18.398 | 21.653 | 23.2805 | 24.908 | 28.163 | 0.24474 | 1.7702 | 43.8 | -13.3 | All | 1.5789
| Chest | 10.4708 | 7.2154 | 7.2154 | 7.2154 |  | Scalp | 11.4082 | 17.9906 | 21.2818 | 24.573 | 31.1554 | 0.19417 | 0.0939 | 65.5 | -33.9 | Top of head | 1.2527
| Back upper | 12.8687 | 6.48 | 6.48 | 6.48 |  | Face | 21.9455 | 25.4577 | 27.2138 | 28.9699 | 32.4822 | 0.10361 | 0.0436 | 65.5 | -33.9 | Head | 0.66842
| Back lower | 6.2824 | 7.8617 | 7.8617 | 7.8617 |  | Chest | 10.4708 | 17.6862 | 21.2939 | 24.9016 | 32.117 | 0.35197 | 0.1939 | 36.1 | -20.5 | Chest | 2.2708
| Arm_up_L | 11.2502 | 6.4303 | 6.4303 | 6.4303 |  | Back upper | 12.8687 | 19.3488 | 22.5888 | 25.8288 | 32.3089 | 0.3161 | 0.1427 | 36.1 | -20.5 | Back | 2.0394
| Arm_up_R | 12.3489 | 6.1197 | 6.1197 | 6.1197 |  | Back lower | 6.2824 | 14.1441 | 18.075 | 22.0058 | 29.8676 | 0.40317 | 0.0971 | 39.5 | -19.5 | Pelvis | 2.6011
| Arm_lower_L | 18.3787 | 4.4154 | 4.4154 | 4.4154 |  | Arm_up_L | 11.2502 | 17.6805 | 20.8956 | 24.1108 | 30.5411 | 0.30475 | 0.0836 | 43 | -21.1 | L. Upper arm | 1.9661
| Arm_lower_R | 17.4706 | 4.6721 | 4.6721 | 4.6721 |  | Arm_up_R | 12.3489 | 18.4686 | 21.5285 | 24.5884 | 30.7081 | 0.29003 | 0.0836 | 43 | -21.1 | R. Upper arm | 1.8712
| Hand L | 14.5236 | 6.5264 | 6.5264 | 6.5264 |  | Arm_lower_L | 18.3787 | 22.7941 | 25.0018 | 27.2095 | 31.6249 | 0.20926 | 0.0648 | 43 | -21.1 | L. Forearm | 1.3501
| Hand R | 13.9813 | 6.7081 | 6.7081 | 6.7081 |  | Arm_lower_R | 17.4706 | 22.1427 | 24.4787 | 26.8147 | 31.4868 | 0.22143 | 0.0648 | 43 | -21.1 | R. Forearm | 1.4286
| Thight L | 18.2631 | 4.1407 | 4.1407 | 4.1407 |  | Hand L | 14.5236 | 21.0499 | 24.3131 | 27.5763 | 34.1027 | 0.1141 | 0.0461 | 84.9 | -57.2 | L. Hand | 0.73611
| Thight R | 17.1633 | 4.4301 | 4.4301 | 4.4301 |  | Hand R | 13.9813 | 20.6894 | 24.0434 | 27.3975 | 34.1055 | 0.11727 | 0.0461 | 84.9 | -57.2 | R. Hand | 0.75661
| Calf L | 18.071 | 4.1913 | 4.1913 | 4.1913 |  | Thigh L | 18.2631 | 22.4039 | 24.4742 | 26.5446 | 30.6854 | 0.20398 | 0.152 | 46.7 | -20.3 | L. Thigh | 1.316
| Calf R | 17.2555 | 4.4059 | 4.4059 | 4.4059 |  | Thigh R | 17.1633 | 21.5934 | 23.8085 | 26.0236 | 30.4537 | 0.21823 | 0.152 | 46.7 | -20.3 | R. Thigh | 1.408
| Foot L | 19.2261 | 3.8874 | 3.8874 | 3.8874 |  | Calf L | 18.071 | 22.2623 | 24.3579 | 26.4536 | 30.6449 | 0.20647 | 0.1351 | 46.7 | -20.3 | L. Low leg | 1.3321
| Foot R | 19.0449 | 3.935 | 3.935 | 3.935 |  | Calf R | 17.2555 | 21.6613 | 23.8643 | 26.0672 | 30.4731 | 0.21704 | 0.1351 | 46.7 | -20.3 | R. Low leg | 1.4003
| Seat | 19.0685 | 4.2351 | 4.2351 | 4.2351 |  | Foot L | 19.2261 | 23.1134 | 25.0571 | 27.0008 | 30.8882 | 0.1915 | 0.0596 | 46.7 | -20.3 | L. Foot | 1.2355
|  | 4.2351 |  |  |  |  | Foot R | 19.0449 | 22.98 | 24.9475 | 26.915 | 30.85 | 0.19384 | 0.0596 | 46.7 | -20.3 | R. Foot | 1.2506
[7 empty] | Seat | 19.0685 | 23.3036 | 25.4212 | 27.5387 | 31.7738 | 0.21719 | 0.1166 | 39.5 | -19.5
Průměrovaný graf pro párové části - ruce, předloktí, paže, stehna, lýtka, chodidla
[18 empty] | Reference | http://hem.passagen.se/nilssons/mer_man_csp.htm
| Comfort zones diagram - PLOT | [5 empty] | Comfort zones for clothing |  | 0.24464 | clo |  |  | Netwon surface temp | [5 empty] | http://homes.civil.aau.dk/pvn/cfd-benchmarks/cps_literature_comfort/Roomvent%202007/Nilsson_OH_Brohus_H_Nielsen_PV_2007b.pdf
| Zone | too cold | cold comfort | neutral | warm comfort | too warm | MTV | <-1.5 | <-0.5 | -0.5...0.5 | >0.5 | >1.5 | 34 | °C |  |  |  |  | http://vbn.aau.dk/files/10729915/CFD_modeling_of_thermal_manikin_heat_loss_in_a_comfort_evaluation_benchmark_test
| Wholebody | 18.404 | 3.2538 | 3.2538 | 3.2538 |  |  | -1.5 | -0.5 | 0 | 0.5 | 1.5 | Clothing | Newton | Nilsson regression coef. |  |  | Clothing | Remark: validated for RT=0.9-1.9 clo, i.e. Rcl 0-1 clo
| Scalp | 11.4082 | 6.5824 | 6.5824 | 6.5824 |  | Zone | too cold | cold comfort | neutral | warm comfort | too warm | RT[m2KW] | Area[m2] | a | b | Zone | RT[clo]
| Face | 21.9455 | 3.5122 | 3.5122 | 3.5122 |  | Wholebody | 18.404 | 21.6577 | 23.2846 | 24.9115 | 28.1652 | 0.24464 | 1.7702 | 43.8 | -13.3 | All | 1.5783
| Chest | 10.4708 | 7.2154 | 7.2154 | 7.2154 |  | Scalp | 11.4082 | 17.9906 | 21.2818 | 24.573 | 31.1554 | 0.19417 | 0.0939 | 65.5 | -33.9 | Top of head | 1.2527
| Back upper | 12.8687 | 6.48 | 6.48 | 6.48 |  | Face | 21.9455 | 25.4577 | 27.2138 | 28.9699 | 32.4822 | 0.10361 | 0.0436 | 65.5 | -33.9 | Head | 0.66842
| Back lower | 6.2824 | 7.8617 | 7.8617 | 7.8617 |  | Chest | 10.4708 | 17.6862 | 21.2939 | 24.9016 | 32.117 | 0.35197 | 0.1939 | 36.1 | -20.5 | Chest | 2.2708
| Arm_up_L | 11.8131 | 6.2712 | 6.2712 | 6.2712 |  | Back upper | 12.8687 | 19.3488 | 22.5888 | 25.8288 | 32.3089 | 0.3161 | 0.1427 | 36.1 | -20.5 | Back | 2.0394
| Arm_up_R | 11.8131 | 6.2712 | 6.2712 | 6.2712 |  | Back lower | 6.2824 | 14.1441 | 18.075 | 22.0058 | 29.8676 | 0.40317 | 0.0971 | 39.5 | -19.5 | Pelvis | 2.6011
| Arm_lower_L | 17.9375 | 4.5401 | 4.5401 | 4.5401 |  | Arm_up_L | 11.8131 | 18.0843 | 21.2199 | 24.3555 | 30.6266 | 0.29721 | 0.0836 | 43 | -21.1 | L. Upper arm | 1.9175
| Arm_lower_R | 17.9375 | 4.5401 | 4.5401 | 4.5401 |  | Arm_up_R | 11.8131 | 18.0843 | 21.2199 | 24.3555 | 30.6266 | 0.29721 | 0.0836 | 43 | -21.1 | R. Upper arm | 1.9175
| Hand L | 14.2561 | 6.616 | 6.616 | 6.616 |  | Arm_lower_L | 17.9375 | 22.4776 | 24.7476 | 27.0177 | 31.5578 | 0.21517 | 0.0648 | 43 | -21.1 | L. Forearm | 1.3882
| Hand R | 14.2561 | 6.616 | 6.616 | 6.616 |  | Arm_lower_R | 17.9375 | 22.4776 | 24.7476 | 27.0177 | 31.5578 | 0.21517 | 0.0648 | 43 | -21.1 | R. Forearm | 1.3882
| Thight L | 17.7318 | 4.2806 | 4.2806 | 4.2806 |  | Hand L | 14.2561 | 20.8721 | 24.1801 | 27.4881 | 34.1041 | 0.11566 | 0.0461 | 84.9 | -57.2 | L. Hand | 0.74622
| Thight R | 17.7318 | 4.2806 | 4.2806 | 4.2806 |  | Hand R | 14.2561 | 20.8721 | 24.1801 | 27.4881 | 34.1041 | 0.11566 | 0.0461 | 84.9 | -57.2 | R. Hand | 0.74622
| Calf L | 17.6734 | 4.2959 | 4.2959 | 4.2959 |  | Thigh L | 17.7318 | 22.0123 | 24.1526 | 26.2929 | 30.5734 | 0.21087 | 0.152 | 46.7 | -20.3 | L. Thigh | 1.3604
| Calf R | 17.6734 | 4.2959 | 4.2959 | 4.2959 |  | Thigh R | 17.7318 | 22.0123 | 24.1526 | 26.2929 | 30.5734 | 0.21087 | 0.152 | 46.7 | -20.3 | R. Thigh | 1.3604
| Foot L | 19.136 | 3.9111 | 3.9111 | 3.9111 |  | Calf L | 17.6734 | 21.9693 | 24.1173 | 26.2652 | 30.5612 | 0.21162 | 0.1351 | 46.7 | -20.3 | L. Low leg | 1.3653
| Foot R | 19.136 | 3.9111 | 3.9111 | 3.9111 |  | Calf R | 17.6734 | 21.9693 | 24.1173 | 26.2652 | 30.5612 | 0.21162 | 0.1351 | 46.7 | -20.3 | R. Low leg | 1.3653
| Seat | 19.0685 | 4.2351 | 4.2351 | 4.2351 |  | Foot L | 19.136 | 23.0471 | 25.0026 | 26.9582 | 30.8692 | 0.19266 | 0.0596 | 46.7 | -20.3 | L. Foot | 1.243
|  | 4.2351 |  |  |  |  | Foot R | 19.136 | 23.0471 | 25.0026 | 26.9582 | 30.8692 | 0.19266 | 0.0596 | 46.7 | -20.3 | R. Foot | 1.243
[7 empty] | Seat | 19.0685 | 23.3036 | 25.4212 | 27.5387 | 31.7738 | 0.21719 | 0.1166 | 39.5 | -19.5